## Measurements
Device Under Test Information
Date
Process version |  | 1.0
Unit Model |  | JS320
Unit Description |  | Precision Energy Analyzer
Serial #:
TUR Threshold |  | 4
Equipment Used
Voltage Measurement
15 V Range
Target | Units | Applied | Applied Uncertainty | Expected Accuracy | Test Uncertainty Ratio | Lower Limit | As Measured | Upper Limit
-15 | V |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
-12 | V |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
-9 | V |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
-6 | V |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
-3 | V |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
0 | V |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
3 | V |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
6 | V |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
9 | V |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
12 | V |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
15 | V |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
2 V Range
Target | Units | Applied | Applied Uncertainty | Expected Accuracy | Test Uncertainty Ratio | Lower Limit | As Measured | Upper Limit
-2 | V |  |  | 6.7e-05 | 0 | -6.7e-05 |  | 6.7e-05
-1.5 | V |  |  | 6.7e-05 | 0 | -6.7e-05 |  | 6.7e-05
-1 | V |  |  | 6.7e-05 | 0 | -6.7e-05 |  | 6.7e-05
-0.5 | V |  |  | 6.7e-05 | 0 | -6.7e-05 |  | 6.7e-05
0 | V |  |  | 6.7e-05 | 0 | -6.7e-05 |  | 6.7e-05
0.5 | V |  |  | 6.7e-05 | 0 | -6.7e-05 |  | 6.7e-05
1 | V |  |  | 6.7e-05 | 0 | -6.7e-05 |  | 6.7e-05
1.5 | V |  |  | 6.7e-05 | 0 | -6.7e-05 |  | 6.7e-05
2 | V |  |  | 6.7e-05 | 0 | -6.7e-05 |  | 6.7e-05
Current Measurement
10 A Range
Target | Units | Applied | Applied Uncertainty | Expected Accuracy | Test Uncertainty Ratio | Lower Limit | As Measured | Upper Limit
-3 | A |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
-2 | A |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
-1 | A |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
-0.5 | A |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
0 | A |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
0.5 | A |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
1 | A |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
2 | A |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
3 | A |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
180 mA Range
Target | Units | Applied | Applied Uncertainty | Expected Accuracy | Test Uncertainty Ratio | Lower Limit | As Measured | Upper Limit
-180 | mA |  |  | 0.05 | 0 | -0.05 |  | 0.05
0 | mA |  |  | 0.05 | 0 | -0.05 |  | 0.05
180 | mA |  |  | 0.05 | 0 | -0.05 |  | 0.05
18 mA Range
Target | Units | Applied | Applied Uncertainty | Expected Accuracy | Test Uncertainty Ratio | Lower Limit | As Measured | Upper Limit
-18 | mA |  |  | 0.005 | 0 | -0.005 |  | 0.005
0 | mA |  |  | 0.005 | 0 | -0.005 |  | 0.005
18 | mA |  |  | 0.005 | 0 | -0.005 |  | 0.005
1.8 mA Range
Target | Units | Applied | Applied Uncertainty | Expected Accuracy | Test Uncertainty Ratio | Lower Limit | As Measured | Upper Limit
-1.8 | mA |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
0 | mA |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
1.8 | mA |  |  | 0.0005 | 0 | -0.0005 |  | 0.0005
180 µA Range
Target | Units | Applied | Applied Uncertainty | Expected Accuracy | Test Uncertainty Ratio | Lower Limit | As Measured | Upper Limit
-180 | µA |  |  | 0.05 | 0 | -0.05 |  | 0.05
0 | µA |  |  | 0.05 | 0 | -0.05 |  | 0.05
180 | µA |  |  | 0.05 | 0 | -0.05 |  | 0.05
18 µA Range
Target | Units | Applied | Applied Uncertainty | Expected Accuracy | Test Uncertainty Ratio | Lower Limit | As Measured | Upper Limit
-18 | µA |  |  | 0.01 | 0 | -0.01 |  | 0.01
0 | µA |  |  | 0.01 | 0 | -0.01 |  | 0.01
18 | µA |  |  | 0.01 | 0 | -0.01 |  | 0.01

## Specifications
Joulescope JS320 Specifications
Source: Joulescope JS320 User's Guide 1.0
Voltage
Range | Relative % | Offset | Units
15 | 0.1% | 0.0005 | V
2 | 0.1% | 6.7e-05 | V
Current
Range | Relative % | Offset | Units
10 | 0.25% | 0.0005 | A
0.18 | 0.25% | 5e-05 | A
0.018 | 0.25% | 5e-06 | A
0.0018 | 0.25% | 5e-07 | A
0.00018 | 0.25% | 5e-08 | A
1.8e-05 | 0.25% | 1e-08 | A

## Changelog
JS320 Validate Document Changelog
Process Version | Date | Changes
1.0 | 2022-09-12 | Initial release based on JS220